## Slide 1
0
31
4
8
12
16
20
24
28
1
data type
channel
pulse
Q.F.
slot
pulse time
10 bits
5 bits
3 bits
2 bits
7 bits
4 bits
1 bit
0
31
4
8
12
16
20
24
28
0
pedestal
pulse integral
19 bits
12 bits
1 bit
First word
Second word
Option 1: Coupled words w/ pedestal

## Slide 2
0
31
4
8
12
16
20
24
28
1
data type
channel
pulse
??
slot
pulse time
13 bits
5 bits
2 bits
2 bits
7 bits
4 bits
1 bit
0
31
4
8
12
16
20
24
28
0
pedestal
pulse integral
17 bits
8 bits
1 bit
First word
Second word
Option 1a: Coupled words w/ pedestal
Q.F.
6 bits

## Slide 3
0
31
4
8
12
16
20
24
28
1
data type
channel
pulse
slot
pulse time
14 bits
5 bits
2 bits
7 bits
4 bits
1 bit
0
31
4
8
12
16
20
24
28
0
pedestal
pulse integral
17 bits
9 bits
1 bit
First word
Second word
Option 1c: Coupled words w/ pedestal
Q.F.
4 bits

## Slide 4
0
31
4
8
12
16
20
24
28
1
data type
channel
pulse
slot
pulse time
13 bits
5 bits
2 bits
7 bits
4 bits
1 bit
0
31
4
8
12
16
20
24
28
0
pedestal
pulse integral
16 bits
7 bits
1 bit
First word
Second word
Option 1d: Coupled words w/ pedestal
Q.F.
6 bits
Q.F.
(time)
2 bits

## Slide 5
0
31
4
8
12
16
20
24
28
1
data type
channel
slot
pulse time
14 bits
5 bits
7 bits
4 bits
1 bit
0
31
4
8
12
16
20
24
28
0
quality factor/pedestal
pulse integral
17 bits
15 bits
1 bit
First word
Second word
Option 1e: Coupled words w/ pedestal
The quality factor/pedestal value will be used to hold some combination of quality factor and pedestal. The exact assignment of bits for these will be worked out by Naomi who has developed the algorithm for identifying pulses and extracting times.

## Slide 6
0
31
4
8
12
16
20
24
28
1
data type
channel
slot
pulse time
14 bits
7 bits
5 bits
4 bits
1 bit
0
31
4
8
12
16
20
24
28
0
quality factor/pedestal
pulse integral
17 bits
15 bits
1 bit
First word
Second word
Option 1f: Coupled words w/ pedestal
The quality factor/pedestal value will be used to hold some combination of quality factor and pedestal. The exact assignment of bits for these will be worked out by Naomi who has developed the algorithm for identifying pulses and extracting times.

## Slide 7
0
31
4
8
12
16
20
24
28
1
data type=8
channel
pulse
Q.F.
slot
pulse time
10 bits
5 bits
3 bits
2 bits
7 bits
4 bits
1 bit
0
31
4
8
12
16
20
24
28
1
pulse integral
17 bits
1 bit
First word: Pulse time
Second word: Pulse integral
Option 2: De-coupled words w/o pedestal
data type=7
channel
pulse
2 bits
7 bits
4 bits
Q.F.
3 bits