## Slide 1
CHL-2
TOF
Hall-D
Truck Ramp
g beam
Forward Calorimeter
Start Counter and Target
Barrel Calorimeter
Superconducting Solenoid
Central Drift Chamber
Forward Drift Chambers
Time of Flight
DIS2011 tour: April13, 2011
D. Lawrence
Polished BCAL module demonstrating optical clarity with cell phone held to opposite end
BCAL module being assembled from layers of fibers and Pb
48 modules arranged into cylinder
Scintillating fiber + Pb
12.5% sampling fraction
11o < q < 120o
Double-ended readout
3000 km of fiber
Target
LH2 or LD2
30 cm long Kapton tube
3 cm diameter
Start Counter
40 scintillators
18 cm diameter
st ~ 300ps (w/ tracking)
Light guide + photodetectors
2T field
1500A
8.5 m3 interior volume
Used previously for LASS at SLAC and for MEGA at Los Alamos
Testing one of the four coils at JLab that make up the GlueX solenoid.
3500 straw tubes
12 axial layers
16 stereo layers (6o)
dE/dx for p<450 MeV/c
6o < q < 155o
GlueX CDC under construction at in a clean room at Carnegie Mellon. The straw tubes are in the interior region while support braces can be seen on the out edge.
4 packages, 6 planes/package
sense wire readout
  96 wires/plane
  2304 sense wires
cathode strip readout
  48 cathode planes
  216 strips/plane
  10,368 strips
sr ~200mm perpendicular to wire (drift time)
ss ~200mm along wire (cathode strips)
1o<q<30o
FDC cathode plane mounted on flatness scanner.
FCAL module showing assembled phototube and Crockoft-Walton base.
Drawing showing an exploded view of the FCAL module assembly.
2800 Pb-glass blocks
4cm x 4cm x 45cm
2o < q < 11o
CAD rendering of TOF detector.
2.5cm-thick scintillator
2 planes
44 bars per plane (40 with double ended readout)
st ~ 60ps (both planes)
2o < q < 11o
schematic of GlueX detector
The GlueX Detector
Start Counter
Target