## Sheet1
parameter | Constants | FY15Q1 | FY15Q2 | FY16Q2+Q3 | FY17Q1-Q3 | FY18Q1-Q3 | units | comments
days per quarter running |  | 20 | 40 | 56 | 58.3333 | 42 | days | amount of running in a quarter
running efficiency |  | 0.2 | 0.3 | 0.3 | 0.5 | 0.5 |  | fraction of wall time when beam is on, either due to beam unavailable or detector not ready
DAQ event rate |  | 20000 | 20000 | 20000 | 20000 | 20000 | events/s | raw data rate out of the counting room when beam is on
raw event size |  | 15000 | 15000 | 15000 | 15000 | 15000 | bytes | size of a single raw event
reconstruction CPU core time per event | 0.045455 | [5 empty] | core-s/event | Time to reconstruct a single event on a 2.3 GHz Haswell
MC CPU core time per event, generation | 0.066667 | [5 empty] | core-s/event
MC CPU core time per event, reconstruction | 0.045455 | [5 empty] | core-s/event
pass 0 event fraction | 0.05 | [6 empty] | fraction of events from raw data stream to perform calibrations
pass 1 repetition factor | 2 | [6 empty] | number of times event reconstruction will be repeated
pass 0 repetition factor | 2 | [6 empty] | number of times calibration will be repeated
stream/pass-1 CPU core ratio | 0.1 | [6 empty] | ratio of CPU core time required for a skim stream to that needed for reconstruction
stream output to input size ratio | 0.1 | [6 empty] | ratio of data volume output for a stream to that of input
stream multiplicity factor | 5 | [6 empty] | number of streams to be produced
stream repetition factor | 2 | [6 empty] | number of times streaming will be repeated
MC/raw data event rate ratio | 2 | [6 empty] | ratio of number of Monte Carlo events needed to number of raw data events
MC multiplicity factor | 2 | [6 empty] | number of times MC data will need to be generated
analysis/pass-1 CPU core ratio | 0.1 | [6 empty] | ratio of CPU core time required for performing a physics analysis to that needed for reconstruction
analysis multiplicity factor | 10 | [6 empty] | number of analyses to be conducted
data rate, tape to cache disk | 100 | [5 empty] | MB/s | average rate from tape library to cache disk
Pass 1 output to input size ratio | 0.2 | [6 empty] | ratio of output event size to input event size
disk usage per analysis |  | 20 | 20 | 20 | 20 | 20 | TB | permanent disk space used by an analysis
disk usage total |  | 200 | 200 | 200 | 200 | 200 | TB | permanent disk space used by all analyses
total CPU cores needed |  | 0.5562 | 1.6686 | 2.336 | 4.0556 | 2.92 | k cores | total number of threads needed for all activities
total CPU cores needed exclusive of MC |  | 0.16328 | 0.48983 | 0.68576 | 1.1906 | 0.8572 | k cores | total number of threads needed for all activities
total rate to tape |  | 0.25083 | 0.7525 | 1.0535 | 1.829 | 1.3169 | PB/Q | Rate of writing tape in PB per quarter year
effective event rate (per second) |  | 876.1123 | 2628.3368 | 3679.6715 | 6388.3185 | 4599.5893 | events/s | Event rate averaged over time
effective event rate (per quarter) |  | 6907268993.8398 | 20721806981.5195 | 29010529774.1273 | 50365503080.0821 | 36263162217.6591 | events/Q | Event rate averaged over time
single Pass 1 CPU cores needed |  | 39.8233 | 119.4699 | 167.2578 | 290.3781 | 209.0722 | cores | number of threads to keep up with the raw event rate
raw instantaneous storage rate |  | 300 | 300 | 300 | 300 | 300 | MB/s | data rate when beam is on
raw effective storage rate |  | 103609034907598 | 310827104722793 | 435157946611910 | 755482546201232 | 543947433264887 | bytes/Q | average data volume rate
raw effective storage rate |  | 103.609 | 310.8271 | 435.1579 | 755.4825 | 543.9474 | TB/Q | average data volume rate
pass 0 CPU cores need |  | 3.9823 | 11.947 | 16.7258 | 29.0378 | 20.9072 | cores | number of threads of calibration to keep up
pass 1 CPU cores need |  | 79.6466 | 238.9397 | 334.5156 | 580.7562 | 418.1445 | cores | number of threads of reconstruction to keep up
single stream CPU need |  | 3.9823 | 11.947 | 16.7258 | 29.0378 | 20.9072 | cores | number of threads for one stream to keep up
stream CPU core need |  | 39.8233 | 119.4699 | 167.2578 | 290.3781 | 209.0722 | cores | number of threads for streaming to keep up
single stream output data rate |  | 0.26283 | 0.7885 | 1.1039 | 1.9165 | 1.3799 | MB/s
total stream output data rate |  | 0.020736 | 0.062208 | 0.087091 | 0.1512 | 0.10886 | PB/Q
MC CPU core ratio per event, generation |  | 1.4667 | 1.4667 | 1.4667 | 1.4667 | 1.4667 | core-s/event | ratio of CPU core time required for generating a Monte Carlo event to that needed for reconstruction
MC CPU core ratio per event, reconstruction |  | 1 | 1 | 1 | 1 | 1 |  | ratio of CPU core time to reconstruct Monte Carlo events to that to reconstruct real data
MC event size |  | 15000 | 15000 | 15000 | 15000 | 15000 | bytes | size of a single generated Monte Carlo event
MC effective event rate |  | 3504.449 | 10513.347 | 14718.6858 | 25553.274 | 18398.3573 | events/s | event rate averaged over time of MC event generation
MC CPU core need |  | 392.9231 | 1178.7692 | 1650.2769 | 2865.0641 | 2062.8461 | cores | numbers of threads needed for generating Monte Carlo
MC pass 1 output event size |  | 3000 | 3000 | 3000 | 3000 | 3000 | bytes | size of a single reconstructed Monte Carlo event
MC effective data rate |  | 10.5133 | 31.54 | 44.1561 | 76.6598 | 55.1951 | MB/s
MC effective data rate |  | 0.082944 | 0.24883 | 0.34836 | 0.6048 | 0.43546 | PB/Q
analysis CPU core need |  | 39.8233 | 119.4699 | 167.2578 | 290.3781 | 209.0722 | cores | number of threads needed for analysis
raw data recording tape need |  | 0.13142 | 0.39425 | 0.55195 | 0.95825 | 0.68994
pass1 processed event size |  | 3000 | 3000 | 3000 | 3000 | 3000 | bytes | reconstructed event size
Single pass 1 output data rate |  | 2.6283 | 7.885 | 11.039 | 19.165 | 13.7988 | MB/s | data rate for a single pass 1 output stream
total pass 1 output data rate |  | 0.041472 | 0.12442 | 0.17418 | 0.3024 | 0.21773 | PB/Q | data rate for all pass 1 output streams
Single pass 0 output data rate |  | 0.13142 | 0.39425 | 0.55195 | 0.95825 | 0.68994 | MB/s | data rate for a single pass 1 output stream
total pass 0 output data rate |  | 0.0020736 | 0.0062208 | 0.0087091 | 0.01512 | 0.010886 | PB/Q | data rate for all pass 0 output streams
single pass 1 tape need |  | 0.1577 | 0.4731 | 0.66234 | 1.1499 | 0.82793 | drives | number of tape drives needed to support pass 1, one iteration
Pass 1 tape need |  | 0.3154 | 0.9462 | 1.3247 | 2.2998 | 1.6559 | drives | number of tape drives needed to support pass 1, all iterations
single pass 0 tape need |  | 0.007885 | 0.023655 | 0.033117 | 0.057495 | 0.041396 | drives | number of tape drives needed to support pass 0, one iteration
Pass 0 tape need |  | 0.01577 | 0.04731 | 0.066234 | 0.11499 | 0.082793 | drives | number of tape drives needed to support pass 0, all iterations
single stream input tape need |  | 0.26283 | 0.7885 | 1.1039 | 1.9165 | 1.3799 | drives | number of tape drives needed to support input for streaming, one iteration
single set of stream output tape need (all streams) |  | 0.13142 | 0.39425 | 0.55195 | 0.95825 | 0.68994 | drives | number of tape drives needed to support output for streaming, one iteration
total stream tape need |  | 0.7885 | 2.3655 | 3.3117 | 5.7495 | 4.1396 | drives | number of tape drives needed to support streaming, all iterations
MC tape drive need |  | 0.10513 | 0.3154 | 0.44156 | 0.7666 | 0.55195 | drives | number of tape drives needed to archive reconstructed MC data
total tape drive need |  | 1.3562 | 4.0687 | 5.6961 | 9.8891 | 7.1202 | drives | total number of tape drives needed for all activities