## Sheet1
GlueX Computing Model
31557600
parameter | value | units | comments
event rate | 20000 | events/s | raw data rate out of the counting room when beam is on
annual running | 35 | weeks | amount of running in a year
running efficiency | 0.5 |  | fraction of wall time when beam is on, either due to beam unavailable or detector not ready
effective event rate (per second) | 6707.7344 | events/s | Event rate averaged over time
effective event rate (per year) | 211535112936.345 | events/year | Event rate averaged over time
CPU time per event | 0.13333 | CPU-s/event | Time to reconstruct a single event on a 2.8 GHz Nehalem machine, per thread, from Simon's email of 1/31/2011
single Pass 1 CPU needed | 894.3646 | CPU's | number of threads to keep up with the raw event rate
raw event size | 15000 | bytes | size of a single raw event
raw instantaneous storage rate | 300 | MB/s | data rate when beam is on
raw effective storage rate | 3173026694045170 | bytes/year | average data volume rate
raw effective storage rate | 3173.0267 | TB/year | average data volume rate
pass 0 event fraction | 0.05 |  | fraction of events from raw data stream to perform calibrations
pass 1 repetition factor | 2 |  | number of times event reconstruction will be repeated
pass 0 repetition factor | 2 |  | number of times calibration will be repeated
pass 0 CPU need | 89.4365 | CPU's | number of threads of calibration to keep up
pass 1 CPU need | 1788.7292 | CPU's | number of threads of reconstruction to keep up
stream/pass-1 CPU ratio | 0.1 |  | ratio of CPU time required for a skim stream to that needed for reconstruction
stream output to input size ratio | 0.1 |  | ratio of data volume output for a stream to that of input
stream multiplicity factor | 5 |  | number of streams to be produced
single stream CPU need | 89.4365 | CPU's | number of threads for one stream to keep up
stream repetition factor | 2 |  | number of times streaming will be repeated
stream CPU need | 894.3646 | CPU's | number of threads for streaming to keep up
single stream output data rate | 1.3415 | MB/s
total stream output data rate | 0.42336 | PB/year
MC CPU time per event, generation | 0.066667
MC CPU time per event, reconstruction | 0.13333
MC CPU ratio per event, generation | 0.5 | CPU-s/event | ratio of CPU time required for generating a Monte Carlo event to that needed for reconstruction
MC CPU ratio per event, reconstruction | 1 |  | ratio of CPU time to reconstruct Monte Carlo events to that to reconstruct real data
MC/raw data event rate ratio | 2 |  | ratio of number of Monte Carlo events needed to number of raw data events
MC event size | 15000 | bytes | size of a single generated Monte Carlo event
MC multiplicity factor | 2 |  | number of times MC data will need to be generated
MC effective event rate | 26830.9377 | events/s | event rate averaged over time of MC event generation
MC CPU need | 5366.1875 | CPU's | numbers of threads needed for generating Monte Carlo
MC pass 1 output event size | 2000 | bytes | size of a single reconstructed Monte Carlo event
MC effective data rate | 53.6619 | MB/s
MC effective data rate | 1.6934 | PB/year
analysis/pass-1 CPU ratio | 0.1 |  | ratio of CPU time required for performing a physics analysis to that needed for reconstruction
analysis multiplicity factor | 10 |  | number of analyses to be conducted
analysis CPU need | 894.3646 | CPU's | number of threads needed for analysis
total CPU need | 9033.0824 | CPU's | total number of threads needed for all activities
total CPU need exclusive of MC | 3666.8948 | CPU's | total number of threads needed for all activities
data rate, tape to cache disk | 100 | MB/s | average rate from tape library to cache disk
data rate, cache disk to local disk | 3 | MB/s | average rate from cache disk to local farm node disk
raw data recording tape need | 1.0062
Pass 1 output to input size ratio | 0.13333 |  | ratio of output event size to input event size (from 15kB expected and 2kB from Data Challenge1)
pass1 processed event size | 2000 | bytes | reconstructed event size
Single pass 1 output data rate | 13.4155 | MB/s | data rate for a single pass 1 output stream
total pass 1 output data rate | 0.84672 | PB/year | data rate for all pass 1 output streams
Single pass 0 output data rate | 0.67077 | MB/s | data rate for a single pass 1 output stream
total pass 0 output data rate | 0.042336 | PB/year | data rate for all pass 0 output streams
single pass 1 tape need | 1.1403 | drives | number of tape drives needed to support pass 1, one iteration
Pass 1 tape need | 2.2806 | drives | number of tape drives needed to support pass 1, all iterations
single pass 0 tape need | 0.057016 | drives | number of tape drives needed to support pass 0, one iteration
Pass 0 tape need | 0.11403 | drives | number of tape drives needed to support pass 0, all iterations
single stream input tape need | 1.3415 | drives | number of tape drives needed to support input for streaming, one iteration
single set of stream output tape need (all streams) | 0.67077 | drives | number of tape drives needed to support output for streaming, one iteration
total stream tape need | 4.0246 | drives | number of tape drives needed to support streaming, all iterations
MC tape drive need | 0.53662 | drives | number of tape drives needed to archive reconstructed MC data
total tape drive need | 7.9621 |  | total number of tape drives needed for all activities
disk usage per analysis | 20 | TB | permanent disk space used by an analysis
disk usage total | 200 | TB | permanent disk space used by all analyses
total output rate | 6.1789

## Sheet2
| Phase I | Phase II | Phase III | Phase IV
PAC days | 30 | 30 | 60 | 200
Days of running | 60 | 60 | 120 | 400 |  | Days of Running per PAC Day | 2
Running efficiency | 0.5 | 0.5 | 0.5 | 0.5 |  | Seconds per day | 86400
Running time (s) | 2592000 | 2592000 | 5184000 | 17280000 |  | Days per year | 365.25
Trigger rate (Hz) | 2000 | 20000 | 20000 | 20000 |  | Number of cores | 10000
Number of events | 5184000000 | 51840000000 | 103680000000 | 345600000000 |  | Ratio of Monte Carlo events to data events | 2
[6 empty] | event size (bytes) | 15000
Reconstruction time per event per core (s) | 0.13333 | 0.13333 | 0.13333 | 0.13333 |  | ratio of size of DST to Raw | 0.13333
Reconstruction time, single core (y) | 21.9028 | 219.0281 | 438.0561 | 1460.1871 |  | number of calibration iterations | 3
Reconstruction time (d) | 0.8 | 8 | 16 | 53.3333 |  | fraction of raw data to calibrate | 0.1
[6 empty] | fraction of DST data on live disk | 0.25
Monte Carlo generation time per event per core | 0.066667 | 0.066667 | 0.066667 | 0.066667 |  | offsite institutional analyses | 15
Monte Carlo reconstruction time per event per core | 0.13333 | 0.13333 | 0.13333 | 0.13333
Monte Carlo time, gen. + recon. (d) | 2.4 | 24 | 48 | 160
Reconstruction time + MC time (d) | 3.2 | 32 | 64 | 213.3333
Calibration time | 0.24 | 2.4 | 4.8 | 16
raw data volume (bytes) | 77760000000000 | 777600000000000 | 1555200000000000 | 5184000000000000
raw data volume (PB) | 0.07776 | 0.7776 | 1.5552 | 5.184
DST real data volume (PB) | 0.010368 | 0.10368 | 0.20736 | 0.6912
Skims real data volume (PB) | 0.005184 | 0.05184 | 0.10368 | 0.3456 | multiple skims representing different analyses
DST MC data volume (PB) | 0.002592 | 0.02592 | 0.05184 | 0.1728 | assume we only store MC of 2*skim size
total data to tape (PB) | 0.095904 | 0.95904 | 1.9181 | 6.3936
For PAC 40 Proposal
Silo/Mass Storage (Tape) (PB) |  |  |  | 6.3936 | includes raw, MC, DST, skims (single pass only)
Amount of Simulated Data Expected (TB) |  |  |  | 172.8 | from above
Amount of Raw Data Expected (TB) |  |  |  | 5184 | from above
Amount of Processed Data Expected |  |  |  | 691.2 | from above
Online Storage (Disk) Required (TB) |  |  |  | 518.4 | keep all skims live and 1/4 of DST
Imported Data Expected from Offsite Institutions (TB) |  |  |  | 172.8 | assume MC data imported from GRID (yes, contradicts official plan!)
Exported Data Expected to Offsite Locations (TB) |  |  |  | 1036.8 | total number of skims copied outside JLab for analysis
Simulation Requirements (SPEC CINT2000 hrs) | These lines should be replaced by one(s) asking for the number of cores in current farm nodes
Production (Replay, Analysis, Cooking) Requirements (SPEC CINT2000 hrs)
Total number of cores (2.8GHz Nehalem) |  |  |  | 10000 | This number is taken by rounding up the number in Sheet1!B43. It is a number that results in a reasonable amount of time required to process a years worth of data. Specfically, less than 2 months. See computing_requirements_estimates.xlsx which has the numbers given to Graham in April 2013 for estimates on computing resources.